## Slide 1: Refactoring Work
For an AWG Interface

## Slide 2
The current interface for the AWG exposes too much of the hardware properties
Any change to the hardware will cause changes in the client that uses the property.

## Slide 3
Using a previous version of AWG_OutputSection.cs, which is part of the AWG class, as an example, the following is a set of attributes for the marker output stop values.
public string OutputChannel1Marker1StopValue { get; set; }
public string OutputChannel1Marker2StopValue { get; set; }
public string OutputChannel2Marker1StopValue { get; set; }
public string OutputChannel2Marker2StopValue { get; set; }

## Slide 4
If this approach is continued for the 50k, the attributes would look like the following
public string OutputChannel1Marker1StopValue { get; set; }
public string OutputChannel1Marker2StopValue { get; set; }
public string OutputChannel1Marker3StopValue { get; set; }
public string OutputChannel1Marker4StopValue { get; set; }
public string OutputChannel2Marker1StopValue { get; set; }
public string OutputChannel2Marker2StopValue { get; set; }
public string OutputChannel2Marker3StopValue { get; set; }
public string OutputChannel2Marker4StopValue { get; set; }
public string OutputChannel3Marker1StopValue { get; set; }
public string OutputChannel3Marker2StopValue { get; set; }
public string OutputChannel3Marker3StopValue { get; set; }
public string OutputChannel3Marker4StopValue { get; set; }
public string OutputChannel4Marker1StopValue { get; set; }
public string OutputChannel4Marker2StopValue { get; set; }
public string OutputChannel4Marker3StopValue { get; set; }
public string OutputChannel4Marker4StopValue { get; set; }

## Slide 5
The following is the previous code that updated the individual attributes.
public void GetOutputStopMarkerState(string channel, string marker)
{
switch (channel)
{
case "1":
switch (marker)
{
case "1":
OutputChannel1Marker1StopValue = _pi.GetAwgOutputStopMarkerState(channel, marker);
break;
case "2":
OutputChannel1Marker2StopValue = _pi.GetAwgOutputStopMarkerState(channel, marker);
break;
}
break;
case "2":
switch (marker)
{
case "1":
OutputChannel2Marker1StopValue = _pi.GetAwgOutputStopMarkerState(channel, marker);
break;
case "2":
OutputChannel2Marker2StopValue = _pi.GetAwgOutputStopMarkerState(channel, marker);
break;
}
break;
}
}
Using one’s imagination, the implementation for the 50k would be 4 times the size of this.

## Slide 6
These attributes are used in the “should be” steps as the following example demonstrates.
public void OutputStopMarkerStateValueShouldBe(AWG awg, string channel, string marker, OutputMarkerStopMode mode)
{
string expectedValue = (mode == OutputMarkerStopMode.Off) ? "OFF" : "LOW";
switch (channel)
{
case "1":
switch (marker)
{
case "1":
Assert.AreEqual(expectedValue, awg.OutputChannel1Marker1StopValue);
break;
case "2":
Assert.AreEqual(expectedValue, awg.OutputChannel1Marker2StopValue);
break;
}
break;
case "2":
switch (marker)
{
case "1":
Assert.AreEqual(expectedValue, awg.OutputChannel2Marker1StopValue);
break;
case "2":
Assert.AreEqual(expectedValue, awg.OutputChannel2Marker2StopValue);
break;
}
break;
}
}
Again, using one’s imagination, the implementation for the 50k would be 4 times the size of this.

## Slide 7
The new way of getting the same information is as follows.
// The attributes are now saved in an multi-dimension array.
private readonly string[,] _outputChannelMarkerStopValues = new string[AwgMaxChannels, AwgMaxMarkers];
public void GetOutputStopMarkerState(string logicalChannel, string logicalMarker)
{
int channelNumber = Convert.ToInt32(logicalChannel);
int markerNumber = Convert.ToInt32(logicalMarker);
if ((channelNumber <= AwgMaxChannels) && (markerNumber <= AwgMaxMarkers))
{
_outputChannelMarkerStopValues[channelNumber - 1, markerNumber - 1] = _pi.GetAwgOutputStopMarkerState(logicalChannel, logicalMarker);
}
}

## Slide 8
And instead of an attribute to access, there is now a method as follows
// The attributes are now saved in an multi-dimension array.
private readonly string[,] _outputChannelMarkerStopValues = new string[AwgMaxChannels, AwgMaxMarkers];
public string OutputStopMarkerState(string logicalChannel, string logicalMarker)
{
string outputStopMarkerState = null;
int channelNumber = Convert.ToInt32(logicalChannel);
int markerNumber = Convert.ToInt32(logicalMarker);
if ((channelNumber <= AwgMaxChannels) && (markerNumber <= AwgMaxMarkers))
{
outputStopMarkerState = _outputChannelMarkerStopValues[channelNumber - 1, markerNumber - 1];
}
return outputStopMarkerState;
}

## Slide 9
The “should be” step now becomes as follows and will work for both the 70k and the 50k without change.
public void OutputStopMarkerStateValueShouldBe(AWG awg, string logicalChannel, string logicalMarker, OutputMarkerStopMode expectedState)
{
string expectedSyntax = (expectedState == OutputMarkerStopMode.Off) ? SyntaxForOutputStopValueMarkerOff : SyntaxForOutputStopValueMarkerLow;
string outputChannelMarkerStopState = awg.OutputStopMarkerState(logicalChannel, logicalMarker);
string possibleErrorString = ErrorStringCheckingOutputStopMarker + logicalMarker + ErrorStringForChannel + logicalChannel;
Assert.AreEqual(expectedSyntax, outputChannelMarkerStopState, possibleErrorString);
}

## Slide 10
In addition to further abstraction, I have made some public enums to be used by the step client for the group helpers. For the code that we have been reviewing, they are as follows.
public enum OutputMarkerStopMode { Off, Low }
And I created unique strings to be used for syntax and error messages for the output stop values for the markers
public const string SyntaxForOutputStopValueMarkerOff = "OFF";
public const string SyntaxForOutputStopValueMarkerLow = "LOW";
public const string ErrorStringCheckingOutputStopMarker =
"Checking the output stop value for marker ";
public const string ErrorStringForChannel = " for channel ";
I like to intentionally group these strings together so that I can be consistent during development.

## Slide 11: Rewording Steps Work
There have been many implementations of steps without any guidelines. After many iterations, Perry and I had settled on 3 basic formats: the “set”, the “get” and the “should be”.
There have been many different references to the same AWG: “the AWG”, “AWG1”, “AWG 1” and implied.
The AWG references should now be “AWG n” where “n” is in a range of 1 to 4. Note the space between “AWG” and “n”. The wording of “the AWG” will now be “AWG [1-4]”. AWG should no longer be implied.
In the quest to be consistent, references to channel, marker and clock should have the same format: “channel 1”, “marker 2”, and “clock 1”.

## Slide 12: The Set Step
The basic set form is “When I set <noun> <verbal phrase > [<for marker 1>] [<for channel 1>] [<for AWG 1>]”
Note that “marker”, “channel” and “AWG” might be optional for a particular set operation.
An example of a noun would be “the marker output stop condition” and the verbal phrase would be “to off”. Using the examples, the step would be “When I set the marker output stop condition to off for marker 1 for channel 1 for AWG 1”
In Gherkin the step would be look like the following [When(@"I set the marker output stop condition to off for marker ([1-4]) for channel ([1-4]) for AWG ([1-4])")]

## Slide 13
Old wording
[When(@"I set the AWG Trigger Sequence Output data Position Value to (FIRST|FIRS|first|ZERO|zero)")]
New wording
[When(@"I set the analog output trigger wait value to first for all channels on AWG ([1-4])")]
[When(@"I set the analog output trigger wait value to zero for all channels on AWG ([1-4])")]
There are a number of issues with the old wording above.
1. The “AWG” reference and position in the step.
2. The step is suppose to indirectly exercise the PI command OUTPut:SVALue:ANALog:STATe. There was no guideline for word usage initially. Again, after many iterations, Perry and I decided to use the User Programming manual as our guideline. You will find no reference to “Trigger Sequence Output data Position Value” in the manual. When creating the “verbal phrase”, use the programming manual as guide. By using these words, the Gherkin intellisense parser will help find the correct step.
3. Steps in general are not meant to be syntax checkers or generators. There will be no hints to the user from the Gherkin intellisense parser.
In the new wording the noun is “the analog output trigger wait value” and the verbal phrase is “to first” and “to zero”.

## Slide 15: The Get Step
The basic get form is “When I get <noun> [<for marker 1>] [<for channel 1>] [<for AWG 1>]”
Note that “marker”, “channel” and “AWG” might be optional for a particular get operation.
An example of a noun would be “the marker output stop condition” and the step would be “When I get the marker output stop condition for marker 1 for channel 1 for AWG 1”
In Gherkin the step would be look like the following [When(@"I get the marker output stop condition for marker ([1-4]) for channel ([1-4]) for AWG ([1-4])")]

## Slide 16
Old wording
[When(@"I get the AWG Trigger Sequence Output data Position Value")]
New wording
[When(@"I get the analog output trigger wait value for all channels on AWG ([1-4])")]
The old wording has the same issues as the “set” did. The “AWG” reference and placement in the step. The wording used to describe the noun will not be found in the user programming manual.

## Slide 17: The Should Be Step
The basic should be form is “Then <noun> <verbal phrase > [<for marker 1>] [<for channel 1>] [<for AWG 1>]”
An example of a noun is the same as for a Set or Get such as “the marker output stop condition” but the verbal phrase is now “should be off”. Using the examples, the step would be “Then the marker output stop condition should be off for marker 1 for channel 1 for AWG 1”
In Gherkin the step would be look like the following “[Then the marker output stop condition should be off for marker ([1-4]) for channel ([1-4]) for AWG ([1-4])")]”

## Slide 18
Old wording
[Then(@"the AWG Trigger Sequence Output data Position should be (FIRST|FIRS|first|ZERO|zero)")]
New wording
[Then(@"the analog output trigger wait value should be first for all channels on AWG ([1-4])")]
[Then(@"the analog output trigger wait value should be zero for all channels on AWG ([1-4])")]
There are a number of issues with the old wording above. (These are basically the same as the set)
1. The “AWG” reference and position in the step.
2. The step is suppose to indirectly exercise the PI command OUTPut:SVALue:ANALog:STATe. There was no guideline for word usage initially. Again, when creating the “verbal phrase”, use the programming manual as guide. By using these words, the Gherkin intellisense parser will help find the correct step.
3. Steps in general are not meant to be syntax checkers or generators. There will be no hints to the user from the Gherkin intellisense parser.
In the new wording the noun is “the analog output trigger wait value” and the verbal phrase is “to first” and “to zero”.

## Slide 19: Old and New Wordings Examples
Old wording
[When(@"I set the AWG Trigger (A|B) Sequence Impedance Value to (50|1000)")]
[When(@"I get the AWG Trigger Sequence (A|B) Impedance Value")]
[Then(@"the AWG Trigger (A|B) Sequence Impedance Value should be (50|1000)")]
New wording
[When(@"I set the trigger impedance value to 50 for trigger (A|B) for AWG ([1-4])")]
[When(@"I set the trigger impedance value to 1000 for trigger (A|B) for AWG ([1-4])")]
[When(@"I get the trigger impedance value for trigger (A|B) for AWG ([1-4])")]
[Then(@"the trigger impedance value should be 50 for trigger (A|B) for AWG ([1-4])")]
[Then(@"the trigger impedance value should be 1000 for trigger (A|B) for AWG ([1-4])")]

## Slide 20: The Delete Step
Old wording
[When(@"I delete file or directory ""(.+)"" in the mass storage unit ""(.+|)"" of the AWG")]
New wording
[When(@"I delete the file ""(.+)"" for AWG ([1-4])")]
[When(@"I delete the file ""(.+)"" on drive ""(.+)"" for AWG ([1-4])")]
[When(@"I delete the directory ""(.+)"" for AWG ([1-4])")]
[When(@"I delete the directory ""(.+)"" on drive ""(.+)"" for AWG ([1-4])")]
Note the use of the 2 sets of double quotes for a file or path. When presented in the feature it will be an empty set of double quotes “” that the user will need to fill in. If you don’t then in the feature is will just be an extra space that you will overlook.

## Slide 21: The Save Step
Old wording
[When(@"I save the setup ""(.+)"" including assets (1|0|ON|OFF||)")]
New rewording
[When(@"I save the setup with assets to the file ""(.+)"" for AWG ([1-4])")]
[When(@"I save the setup without assets to the file ""(.+)"" for AWG ([1-4])")]
Old wording
[When(@"I save the asset ""(.+)"" as the TEXT file ""(.+)"" with type (ANAL|ANALog|DIG8|DIG10)")]
New wording
[When(@"I save the asset ""(.+)"" as floating point values to the TXT file ""(.+)"" for AWG ([1-4])")]
[When(@"I save the asset ""(.+)"" as 8 bit DAC values to the TXT file ""(.+)"" for AWG ([1-4])")]
[When(@"I save the asset ""(.+)"" as 10 bit DAC values to the TXT file ""(.+)"" for AWG ([1-4])")]

## Slide 22: Validation of Step Parameters
A new method is necessary as the test framework moves forward is in the following step.
[Then(@"the marker output stop condition should be off for marker ([1-4]) for channel ([1-4]) for AWG ([1-4])")]
public void OutputStopMarkerStateValueShouldBeOff(string marker, string channel, string awgNumber) {
AWG awg = AwgSetupSteps.GetAWG(awgNumber);
_utilitiesGroup.VerifyChannelMarkerClockParameters(awg, channel, marker);
_awgOutputGroup.OutputStopMarkerStateValueShouldBe(awg, channel, marker, AwgOutputGroup.OutputMarkerStopMode.Off);
}
The new method, VerifyChannelMarkerClockParameters() uses the AWG object that was passed to determine correct number of channels, markers and clocks available for that awg. The Gherkin language will use the ([1-4]) syntax to enforce the range but it cannot dynamically change depending on the type of awg object that it is working on.